Addendum # 1 Questions & Answers for TITB Roadway Lighting - Birmingham Area Bid # 50

Q.  Item 65, "Replace Runs of Conduit (Exposed)," is measured and paid on an Each basis, whereas Items 62, 63, 64, and 66 are measured by Linear Foot. Please clarify.
A. All these items should be LF.
Q. What constitutes one "Each" for Item 65?
 Is there a maximum length of exposed conduit included in a single unit?
 Does Item 65 include all associated fittings, supports, straps, couplings, bends, and mounting hardware required to complete the exposed conduit run?
Is conductor replacement associated with Item 65 included in that unit, or is conductor replacement intended to be paid separately under Item 66?

A. Change units to LF.

Q.  Additionally, please clarify the distinction between:
       Item 63, "wire only," and  
       Item 66, "Replace Runs Conductor,"

A.  Delete item 63 "wire only,".  It is not necessary.





	   


